## Sheet1
FP&C Environmental Building Rating System Checklist
referencing ASHRAE Standard 189.1-2009
Project name:
Project and WBS No:
Phase:
5. Site Sustainability
|  |  | Total possible points: | 4
|  | 5.3.2.1 and 5.3.2.2 | Heat Island Effect - Non-roof | 1
|  | 5.3.2.3 | Heat Island Effect - Roof | 1
|  | 5.3.3.3 | Light Pollution Reduction | 1
|  | 5.4 or 5.5 | Site Development - Prescriptive or Performance Option (note: Section 5.4.1.1.b "green roof" may not be used) | 1
6. Water Use Efficiency - a minimum of 2 points must be earned from this section
|  |  | Total possible points: | 6
|  | 6.3.1 | Water Use Reduction - Site | 2
|  | 6.3.2 | Water Use Reduction - Building | 2
|  | 6.3.3 | Water Consumption Measurement | 1
|  | 6.4 or 6.5 | Water Use Reduction, Other - Prescriptive or Performance Option | 1
7. Energy Efficiency - a minimum of 6 points must be earned from this section
|  |  | Total possible points: | 12
ü |  | 7.3.1 | Mandatory Provision - Energy Code Compliance | 0
|  | 7.3.2 | On-site Renewable Energy Readiness | 1
|  | 7.3.3 | Energy Consumption Management | 1
|  | 7.4.1.1 | On-site Renewable Energy Systems (includes the point for 7.3.2. Both 7.3.2 and 7.4.1.1 cannot be claimed) - Prescriptive Option | 2
|  | 7.4.2 | Building Envelope Requirements - Prescriptive Option | 2
|  | 7.4.3 | HVAC - Prescriptive Option | 2
|  | 7.4.4 | Service Water Heating - Prescriptive Option | 1
|  | 7.4.5 | Power - Prescriptive Option | 1
|  | 7.4.6 | Lighting - Prescriptive Option | 2
|  | 7.4.7 | Other Equipment - Prescriptive Option | 1
|  | 7.5 | Performance Option in lieu of all Section 7.4.x requirements | 10
8. Indoor Environmental Quality
|  |  | Total possible points: | 11
ü |  | 8.3.1 | Mandatory Provision - Indoor Air Quality | 0
|  | 8.3.1.1 | Minimum Ventilation Rates | 1
|  | 8.3.1.2 | Outdoor Air Delivery Monitoring | 1
|  | 8.3.1.3 | Filtration and Air Cleaner Requirements | 1
ü |  | 8.3.1.4 | Mandatory Provision - Environmental Tobacco Smoke | 0
|  | July 2021 |  | 33
|  | 8.3.1.5 | Building Entrances | 1
|  | 8.3.2 | Thermal Environmental Conditioning for Human Occupancy | 1
|  | 8.3.3 | Acoustical Control | 2
|  | 8.3.4 | Daylighting by Toplighting | 1
ü |  | 8.3.5 | Mandatory Provision - Isolation of the Building from Pollutants in Soil | 0
|  | 8.4.1 | Daylighting by Sidelighting - Prescriptive Option | 1
|  | 8.4.2 | Materials - Prescriptive Option | 2
|  | 8.5 | Performance Option in lieu of Sections 8.4.1 and 8.4.2 requirements | 3
9. Impact on Atmosphere, Materials and Resources
|  |  | Total possible points: | 8
|  | 9.3.1.1 | Diversion | 1
|  | 9.3.1.2 | Total Waste | 1
|  | 9.3.2 | Extracting, Harvesting, and/or Manufacturing | 1
ü |  | 9.3.3 | Mandatory Provision - Refrigerants | 0
|  | 9.3.4.1 | Recyclables | 1
|  | 9.3.4.2 | Reusable Goods | 1
|  | 9.3.4.3 | Fluorescent and HID Lamps and Ballasts | 1
|  | 9.4 or 9.5 | Reduced Impact Materials - Prescriptive or Performance Option | 2
10. Construction and Plans for Operation
|  |  | Total possible points: | 8
ü |  | 10.3.1.1 | Mandatory Provision - Building Acceptance Testing | 0
|  | 10.3.1.3 | Erosion and Sediment Control | 1
|  | 10.3.1.4 | IAQ Construction Management | 2
ü |  | 10.3.1.5 | Mandatory Provision - Moisture Control | 0
|  | 10.3.1.6 | Construction Activity Pollution Prevention | 1
|  | 10.3.2.1 | High Performance Building Operation Plan | 1
|  | 10.3.2.2 | Maintenance Plan | 1
|  | 10.3.2.3 | Service Life Plan | 1
|  | 10.3.2.4 | Transportation Management Plan | 1
Total points achieved:
|  | Total points possible: |  | 49
25 points are required including at least 2 points from Sec. 6 - Water Use Efficiency, at least 6 points from Sec.7 - Energy Efficiency and all mandatory provisions.
Designer's name:
Signature:
Date:
|  | July 2021 |  | 34